## Slide 1: Project : Renovation of Male Washroom (near the DOII)
Project Type: Faculty Facelift Projects
Project Number: 35
Committed Donors : E/76 Batch

## Slide 2: Proposed Location

## Slide 3: Proposed Renovations for the Washroom

## Slide 4: Estimated Budget
Serial No. | Required Item | Unit | Quantity | Rate | Amount
1 | Supply and Installation of model EFI Pedestal Wash basin | Nos. | 1 | 32,500.00 | 32,500.00
2 | Supply and Installation of Squatting Pan | Nos. | 2 | 25,000.00 | 50,000.00
3 | Supply and Installation of Flushing tank | Nos. | 2 | 15,000.00 | 30,000.00
4 | Supply and Installation of the door for disable toilet | Nos. | 1 | 20,000.00 | 20,000.00
5 | Supply and Installation of SD90943L Cold Water Tap | Nos. | 5 | 15,000.00 | 75,000.00
6 | Supply and Installation of model A603 Angle valves | Nos. | 8 | 2,500.00 | 20,000.00
7 | Supply and Installation of model SD9A126 Rocell Wall Mounted Tap | Nos. | 6 | 9,000.00 | 54,000.00
8 | Supply and installation of a shower set | Nos. | 1 | 18,000.00 | 18,000.00
9 | Supply and installation of 300mm x 300 mm floor tiles of approved color. | SQ Ft | 200 | 400.00 | 80,000.00
10 | Supply and installation of 600mm * 300mm wall tiles of approved color. | SQ Ft | 200 | 425.00 | 85,000.00
11 | 500mm x 700mm Rectangular, beveled edge wall-mounted mirror - (Model FLM 5) 4mm Thickness | Nos. | 5 | 15,000.00 | 75,000.00
12 | Framed mirror (1200mm * 600mm) | Nos. | 2 | 20,000.00 | 40,000.00
13 | Supply and Installation of Pedal Dustbin | Nos. | 2 | 2,000.00 | 4,000.00
14 | Supply and Installation of Wooden Detergent Rack | Nos. | 2 | 5,000.00 | 10,000.00

## Slide 5: Estimated Budget Cont..
15 | Supply and Installation of 5W LED Bulb/ 2ft fluorescent lamps | Nos. | 4 | 3,000.00 | 12,000.00
16 | Supply and Installation of Bag Racks | Nos. | 2 | 7,500.00 | 15,000.00
17 | Supply and Installation of IDC-A0222 Soap Wire Basket | Nos. | 5 | 15,000.00 | 75,000.00
18 | Supply and Installation of Model IDC-A0308 Paper Holder | Nos. | 5 | 8,000.00 | 40,000.00
19 | Supply and Installation of SCL 01 Chrome Metal Flex Bidet Spray | Nos. | 5 | 10,000.00 | 50,000.00
20 | Supply and installation of sensor taps for the urinals | Nos. | 9 | 40,000.00 | 360,000.00
21 | Bag Hanger inside wash room | Nos. | 3 | 3,000.00 | 9,000.00
22 | Supply of uPVC pipes and specials valves | Item |  |  | 50,000.00
23 | Installation cost of additional uPVC Pipes, Specials and Valves | Item |  |  | 25,000.00
24 | Allow for removal of sanitary fittings and tiles etc. | Item |  |  | 25,000.00
25 | Internal painting of the washroom block 2 (near DO2) | Sq ft | 1120 | 98.00 | 109,760.00
26 | Supply and installation of a main door lock plus painting the door | Item |  |  | 15,000.00
27 | Allow for valance board, uPVC gutter and down pipes | Item |  |  | 42,000.00
28 | Allow for removal of sanitary fittings and tiles etc. | Item |  |  | 60,000.00
 | Sub Total |  |  |  | 1,421,260.00

## Slide 6: Suggested Additional Items
Required Item | Quantity | Cost per one (Rs.) | Total Cost (Rs.)
Cleaning the tiles with top quaity cleaners | Allow |  | 50,000.00
Hand Dryer | 8 | 30,000.00 | 240,000.00
Handwash Dispenser | 8 | 5,000.00 | 40,000.00
Paper Towel Dispenser | 8 | 6,000.00 | 48,000.00
Indoor Plants | 30 | 250.00 | 7,500.00
Total |  |  | 385,500.00

## Slide 7: Current situation of the Washroom

## Slide 8: Current situation of the Washroom Cont..

## Slide 9: Current situation of the Washroom Cont..

## Slide 10: Current situation of the Washroom Cont..

## Slide 11: Current situation of the Washroom Cont..

## Slide 12: Current situation of the Washroom Cont..

## Slide 13: Current situation of the Washroom Cont..

## Slide 14: Current situation of the Washroom Cont..

## Slide 15: Current situation of the Washroom Cont..